NATIONAL APPRENTICE & INDUSTRIAL TRAINING AUTHORITY

### TRAINING STANDARDS

## FOR

SPECIAL APPRENTICES

## IN

ELECTRICAL ENGINEERING

IN THE SPECIALIZATION OF

ELECTRICAL (POWER)

#### CONTENTS

Foreword 										Page

National Apprenticeship Committee on Training Standard for

Special apprentices in Electrical Engineering

1.	Objectives of the Training Proramme

2.	Occupation Definition

3.	Special personal qualifies, Abilities & Interests Required for the Occupation

4.	Responsibilities of Employers and Apprentices

5.	Duration and schedule of training & instructions

6.	Probationary Period

7.	Qualifications for Entry

8.	Contract of Apprenticeship

9.	Monitoring & Assessments

10.       Certificate of Proficiency

11.	Levels of Performance

12.	Abbreviations

13.	Index of Training Modules (EP) – Phase I – Basic Training

14.	Index of Training Modules (EP) Phase II & III – General & Specialized

Training

15.	Training Modules (EP) Phase II & III – General & Specialized Training

##### FOREWARD

This training standard specifies the practical training that shall be given to apprentices in one of the occupations categorized for apprenticeship training in accordance with provisions of the National Apprenticeship Act, No.49 of 1971.

The National Apprenticeship Board was established by the Act to formulate, implement, and supervise a scheme of training to cover each category of apprentices. In addition, employers are required, under section 47 of the act, to make suitable arrangements in their establishments for the practical training of al apprentices under their charge in accordance with training programme prescribed by the Board. In order to facilitate efficient and effective discharge of these responsibilities by the Board and employers, the Board established a committee to formulate this comprehensive scheme and standard of training.

The Committee was made up of representatives of public and private sector employers, trade unions, Government Departments and the Board, who posses high levels of competency in the work processes of the occupations or in vocational training. Deliberations of the committee were assisted by analysis of the work processes in representative establishments, which were performed co-operatively by technical personnel of the establishments and of the Board. The training standard therefore, reflects the skill and knowledge that representative’s employers required personnel in the occupation to possess.

The training standard has been amended by the National Consultant in Electrical Engineering under the aegis of the UNDP / ILO Apprenticeship Training Project.

This standard will be kept under continuous review and will be further amended as technological development produces significant changes in skill and knowledge requirements of the occupation. Nevertheless any suggestions for improvement will be welcomed.

Sincere appreciation is extended and their personnel for generous contributions of technical advice and assistance and to members of the committee for the diligent exercise of care and effort in the formulation of this training standard.

Chairman

National Apprentice & Industrial Training Authority

NATIONAL APPRENTICESHIP COMMITTEE ON TRAINING STANDARD FOR SPECIAL APPRENTICES IN ELECTRICAL ENGINEERING

1.	Prof. S. Karunaratne					-	Chairman

Head of the Department,

Dept. of Electrical Engineering,

University of Moratuwa

Moratuwa

2.	Mr. G.R. Fernandopulle					-	Employer Representative

Senior Ref. & Air Cond. Engineering

M/S Brown & Co. Ltd.,

Colombo

3.	Mr. M.A.R.C. Fernando					-	Representing Trade Unions

Superintending Engineer Signals,

S.T.E.’s Officer,

C.G.R.

Dematagoda

4.	Prof. H. Sriyananda					-	Representing Ministry of Higher

Open University,						Education

Nawala,

Nugegoda.

5.	Mr. A.J.M. Victoria					-	Representing Ministry of Labour

Senior Electrical Engineer

Dept. of Labour

Labour Secretariat

Colombo 05

6.	Mr. N. Rajapreyar,					-	Sub-committee Member

Electrical Engineer

Walker Sons & Co. Ltd.

P.O. Box – 166

Colombo

7.	Mr. V. De S. Wickramaratne				-	Sub – committee Member

Brown & Co. Ltd.,

481, T.B. Jayah Mawatha

Colombo 10.

8.	Mr. W.C.R. De Soysa					-	N.A.B. Representative

Training Manager

National Apprenticeship Board

Colombo 06

9.	Mr. B.A. Peiris						-	N.A.B. Representative

Training Manager

National Apprenticeship Board

Colombo 06

10.	Mr. T. Gunaratne					-	N.A.B. Representative

Training Officer

National Apprenticeship Board

Colombo 06.

NOTE	:	The training standards prepared by the above committee in June

1984 have been amended in April in85 by Professor S. Karunaratne, National Consultant in Electrical Engineering, with the participation of Dr. R.J. Eckjardt, Advisor on training. On behalf of the UNDP /ILO project on “Assistance to Apprenticeship Training”. These training standards have been accepted by the curriculum and evaluation division of the National Apprenticeship Board, and the advisory committee of the Technician Training Institute, Katunayake of the National Apprenticeship Board.

TRAINING STANDARDS FOR SPECIAL APPRENTICES IN THE FIELD OF ELECTRICAL ENGINEERING

(Other than for the Electricity Supply Industry)

1.	Objective of the Training Programme

Special Apprentices in Electrical Engineering are defined as persons undergoing a special scheme or apprenticeship training in establishments engaged in the assembly or manufacture, installation, service, repair and maintenance of industrial and domestic and other electrical equipment including electronic & telecommunication equipment with the objective of qualifying for employment in such establishments. The objective or this training programme is therefore to provide organized, systematic and broad based practical training and experience in the work processes involved in the manufacture, assembly, installation, repair, service and maintenance of industrial, domestic and other electrical equipment including electronic and telecommunication equipment combined with the related instruction, technical education and supervisory and management training necessary for special apprentices to acquire the competencies required for such employment.

2.	Occupation Definition :

The special Apprentices in this category on their completion of training are expected to be able to perform :

  - Interpretation of specifications, drawings and job orders and determination of sequence of work.

  - Preparation of estimates with bills of quantities, cost of materials and labour requirements for manufacture and / or installation where applicable and ordering of the materials required for such manufacture and / or installation.

  - Preparation of work schedules, assignment of duties to workers and supervision and control of workers.

  - Recommendations to improve production installation methods, equipment performance and cost control.

  - Resolutions of common worker problems.

  - Co-ordination of work with other units within the establishments

  - Inspection and testing of completed work to ensure conformity with specifications and safety standards (particularly in case of electrical power equipment)

  - Promotion of safety and accident prevention methods.

-1-

3.	Special Personal Qualities, Abilities / Interests

Required for the Occupation

The special personal qualities, abilities and interests required for success in the occupation, in addition to the general qualifications for entry into apprenticeship and general aptitude for Electrical Engineering are as follows;

  - Interests

Applied electricity, mathematics, science and graphics, work with hands tools and machines, human contact and interrelationships, electrical systems and equipment operation, installation, maintenance and repair.

  - Temperament

Patience, perseverance, flexibility and determination, memory for details, to correctly receive, interpret and transmit oral, written and graphic communications, to plan work sequence, to pay attention to detail and accuracy of workmanship, to learn and apply electrical engineering theory and practices.

  - Cognitive Abilities

Form depth and spatial perception, colour dissemination memory for details, to correctly receive, interpret and transmit oral, written and graphic communications, to plan work sequence, to pay attention to detail and accuracy of workmanship, to learn and apply electrical engineering theory and practices.

  - Psychomotor Abilities

Eye-hand-foot co-ordination hand and finger dexterity and touch discrimination. Physical stamina and dexterity.

  - Physical Stamina and Dexterity

Lift up-to 25 kg and carry upto 15 kg, ability to stoop, crouch , kneel, reach, push and pull. Tolerance of working conditions that may include ;

Work inside and outside

Poor visibility and cramped quarters

Grease, dirt, noise vibration, fumes heat

Hazards of cuts, bruises, burns strains

(Under emergencies)

-2-

4.	Responsibilities of Employers and apprentices

The responsibility of employers and apprentices in addition to those that may be prescribed in the National Apprenticeship Act., gazetted regulations and contract of Apprenticeship, are as follows;

  - Employers

- Provision of suitable workshop facilities, tools and equipment, supplies and materials, instruction by competent personnel and work experience for apprentice to acquire the skill knowledge and attitudes required for successful employment

- Timely rotation of apprentices through the modular units and tasks specified in the training standards

- Supervision and evaluation of the progress in practical training and work of every apprentice maintenance of prescribed apprentices training and progress records and submission of such records for inspection by authorized personnel of the NAITA.

- Release of apprentices during normal working hours for related theoretical instructions and such other activities as may be authorized by the NAITA.

  - Apprentices

- Compliance with employer’s rules, regulation and orders related to procedures, hours and conditions of work, safety, discipline, personal conduct and all other matters not contravened by provisions of the National Apprenticeship Act and Regulations;

- Diligent and satisfactory attention to and performance of work assigned by employers with due regard for the employers’ facilities and equipment, tools and machinery supplies and materials, products, time and costs, work practices and customer regulations;

- Satisfactory attendance and progress in basic skill training, related theoretical instructions and other prescribed activities, maintenance of prescribed training diaries and other records; and submission of such records, for inspection and verification by authorized personnel of employers and the NAITA.

- Attendance at appointed time and place for periodic attainment tests and final examinations as approved or prescribed by the NAITA.

- Development of one’s powers of observation and making use of the facilities provided in the acquisition of maximum skill and knowledge in each aspect of training as specified in the training standard.

- Active and actual engagement in the work stipulated during the period of training rather than being content with watching other work.

-3-

5	Duration and Schedule of Training and Instructions :

The duration of Special Apprenticeship Training in the field of Electrical Engineering shall be 04 years, comprising:

- 03 years of practical training made up of one year after Basic Instructions and two years of one year each after General and Specialized Instructions at the Technician Training Institute, NAITA, Katunayake.

- The duration of Instruction shall be 6 months for basic and 3 months each for General and Specialized.

- Each year shall consist 0f 44 weeks or a minimum of 220 working days, each working day being of 08 hours duration.

- Credit for previous training and/or experience and/or related instructions may be granted at the discretion of the Director of Apprenticeship

6.	Probationary Period :

The first six months of the first year of apprenticeship shall be considered as the probationary period.

7.	Qualifications for Entry

- A pass at G.C.E. (O/L) examination in six subjects in one sitting, including Language (Medium Language) and a minimum of three credit passes, two of which should be in Science and Mathematics

AND

- Passes at the G.C.E. (A/L) in Pure Mathematics, Applied Mathematics and Physics in not more than two consecutive sittings.

- Age between 18 and 25 years

-4-

8.	Contract of Apprenticeship :

A contract of apprenticeship will have to be signed by or on behalf of the apprentice and the employer. This has to be registered with the Director of Apprenticeship.

9.	Monitoring and Assessments :

Apprentices will be inspected and monitored during the period of industrial training by personnel authorized by the Director of Apprenticeship.

Every Apprentice shall appear for periodic and final attainment test both in Practice and Theory. These tests will be as prescribed by the NAITA

10.	Certificate of Proficiency :

The NAITA will award its Certificate of National Diploma in Engineering Science in the field of Electrical Engineering to apprentices who :

Attend a minimum period of 04 years of industrial training and instructions, establish satisfactory records of conduct, attendance and performance in all phases of instruction and industrial training and practice.

AND

Obtain pass marks in all tests and examination approved or prescribed by the NAITA.

The Government has recognized the National Diploma in Engineering Sciences qualification for recruitment to Class III of the Middle Level unified Technical Service (MLTS), and also for exemption from the first Departmental Examination for Officers in Class III of the MLTS.

The Institution of Engineers Sri Lanka (IESL) has accepted the NDES for admission as Student Members of the Institution and for enrolment as students for the IESL Part 1 Course. The Open University of Sri Lanka has recognized the NDES for exemption in the Level III of their Diploma Course in Technology.

11.	Levels of Performance

Level 01 Basic knowledge and understanding

Level 02 Good knowledge and understanding and performance ability at basic level, what ever applicable

Level 03 Through knowledge and understanding and good performance ability, whatever applicable

12.	Abbreviations

LP		Levels of Performance

MES		Modules of Employable Skills

MU		Modular Units

-5-

ELECTRICAL POWER ENGINEERING

- Index of Training Modules

PHASE I – BASIC TRAINING

| MES | MU | PRACTICE | DURATION IN WEEKS | PAGE |
| --- | --- | --- | --- | --- |
| EP 01 | 01 02 03 04 05 06 07 08 | BENCH FITTING Orientation to fitting workshop Layout and mark work piece Chip, file and Scrape Work piece to specified shapes and dimensions Drill and finish holes Cut threads with hand taps and dies Fit and assemble components Prepare bench and pedestal grinders for operation Maintain and repair hand tool | 08 | 12 |
| EP 02 | 01 02 03 04 | MACHINE SHOP PRACTICE Orientation to machine shop Set up lathe for operation Turn work piece on lathe Operate Drilling Machines | 12 | 15 |
| EP 03 | 01 02 03 | WELDING Orientation to the Welding shop Set up and use gas welding equipment Set up and operate electric are welding Welding equipment | 04 | 17 |
| EP 04 | 01 02 03 | SMITHY AND FOUNDRY WORK Orientation to blacksmith workshop Forge and repair iron and steel items Orientation to foundry shop | 04 | 18 |

-6-

ELECTRICAL POWER ENGINEERING

13.	Index of Training Modules

PHASE I – BASIC TRAINING

| MES | MU | PRACTICE | DURATION IN WEEKS | PAGE |
| --- | --- | --- | --- | --- |
| EP 05 | 01 | BENCH CARPENTRY Orientation to carpentry shop Bench Carpentry | 04 | 20 |
| EP 06 | 01 02 | FACTORY (ELECTRICAL) INSTALLATION Orientation Electrical installation & wiring | 16 | 21 |

Total		48

-7-

LECTRICAL POWER ENGINEERING

14.	Index of Training Modules

PHASE II/III – GENERAL / SPECIALIZED TRAINING

| MES | MU | DURATION IN WEEKS | PAGE |
| --- | --- | --- | --- |
| EP 07 | 01 02 03 | POWER GENERATION DISTRIBUTION AND SUBSTATION PRACTICE 24 Generation of Electric Power (Diesel Plants) Power Distribution Distribution substation practice | 22 |
| EP 08 | 01 02 03 04 | Installation Maintenance and repair or electrical equipment /systems 24 Orientation Install electrical equipment and systems Inspect and test electrical equipment and systems Maintain and repair electrical systems and equipment | 25 |
|  |  | Total 48 |  |
| EP 09 | 01 02 03 04 | Maintenance / Repair of Electrical Machines 08 Orientation to electric motor and generator repair section Maintenance of tools, equipment and supplies Service and maintain motors and generators Inspect, service and repair electric motor and generator | 27 |

-8-

ELECTRICAL POWER ENGINEERING

Index of Training Modules (Contd…)

PHASE II/III – GENERAL / SPECIALIZED TRAINING

| MES | MU |  | DURATION IN WEEKS | PAGE |
| --- | --- | --- | --- | --- |
| EP 10 | 01 02 03 04 05 06 07 08 | Electronic Practice Orientation to electronic service shop Practice soldering Understand resistors, capacitors, inductors and their behaviour when combined Identify understand and test basic semiconductors Understand, operate and test basic power supplies and amplifiers Understand concepts of loop gain and stability Understand principles of common transducers Understand fault location and correction techniques of transducers and other components of control systems. | 06 | 30 |
| EP 11 | 01 02 03 04 05 | Service and Repair Automotive Electrical Systems Service and repair starting systems for internal combustion engines Service and repair spark ignition systems Service and repair charging systems in automotive Service and repair lighting systems in automotive Service and repair electrical accessories and gauges | 06 | 33 |

-9-

ELECTRICAL POWER ENGINEERING

14.	Index of Training Modules (Contd…)

PHASE II/III – GENERAL / SPECIALIZED TRAINING

| MES | MU |  | DURATION IN WEEKS | PAGE |
| --- | --- | --- | --- | --- |
| EP 12 | 01 02 03 | Technical Office Personnel Management Technical Procedure and Practices Supervision of workers | 04 | 35 |

Total		24

-10-

ELECTRICAL (POWER) ENGINEERING

15.	Training Modules

PHASE 1 – BASIC TRAINING

| MES | MU | ITEM NO. | PRACTICE | WKS | LP |
| --- | --- | --- | --- | --- | --- |
| EE 01 EE 01 | 01 | 01 02 03 | BENCH FITTING Orientation to fitting workshop Identify workshop administrative organization, physical layout stores facilities and procedures Identify potential workshop hazards (e.g., in using tools and equipment; from lifting and falling objects, in electrical installations, fire explosions) safety devices, and first aid facilities and practices Identify, clean, maintain lubricate as requires, and be conversant with workshop facilities, tools equipment and supplies. | 08 | 01 01 01 |
| EE 01 | 02 | 01 02 03 04 05 06 | Layout and mark work piece Identify common measuring and marking out tools (e.g., rules, calipers, venire calipers, scribes punches, surface gauges and plates) Read and interpret workshop drawings Identify common engineering materials by simple workshop tests (e.g. visual, tactile, acoustical; spark, magnetic etc.) Cut stock to specified size with hacksaw or shears Set-up and operate power hacksaw and power shears Prepare surfaces, layout and mark to specifications |  | 03 03 02 03 03 03 |

-11-

ELECTRICAL POWER ENGINEERING

15.	Training Modules (contd.)

PHASE I – BASIC TRAINING

| MES | MU | ITEM NO. | PRACTICE | WKS | LP |
| --- | --- | --- | --- | --- | --- |
| EP 01 | 03 | 01 02 03 04 05 | Chip, file and Scrape Work piece to specified shapes and dimensions Chip work piece to specified shapes and dimensions File flat, parallel, square, round or inclined surfaces and profiles Scrap flat surfaces Operate portable power grinders and sanders Check and measure work piece-using micrometer, and dial gauges, engineering T-squares, protractors and straight edges and surface plates. |  | 03 03 03 03 |
| EP 01 | 04 | 01 02 03 04 05 06 | Drill and finish holes Identify and select correct types and size of drill bite Drill holes to specified size manually and with power operated drills Set up and operate bench and pillar drilling machines Identify and select correct size and type of reamer Ream drilled holes with solid and expansion reamers Chamfer and countersink drill holes |  | 03 03 03 03 03 03 |

-12-

ELECTRICAL POWER ENGINEERING

15.	Training Modules (contd.)

PHASE I – BASIC TRAINING

| MES | MU | ITEM NO. | PRACTICE | WKS | LP |
| --- | --- | --- | --- | --- | --- |
| EP 01 | 05 | 01 02 03 04 | Cut threads with hand taps and dies Identify and select correct type, size and threads of tap or die Resize holes or shaft as required for thread cutting Tap international threads to correct dimensions Cut external threads to correct dimensions |  | 03 03 03 03 |
| EP 01 | 06 | 01 02 03 04 | Fit and assemble components Shape and polish surface as required Fit shafts bushings, sleeves, bearing etc. Remove and install shafts, bushing sleeves, bearing etc. using presses pullers and mechanical and hydraulic presses Fasten components together using common fast ending and locking devices including rivets |  | 02 03 03 03 |
| EP 01 | 07 | 01 02 03 | Prepare bench and pedestal grinders for operation Select, balance and mount grinding wheels Adjust wheel guards, eye shields and work rests Dress grinding wheels |  | 03 03 02 |
| EP 01 | 08 | 01 02 03 04 | Maintain and repair hand tool Clean hand tools and lubricate as required Regrind twist drills Regrind tools such as chisels, scribes, punches scrapers, screwdrivers etc. Repair common hand tools |  | 03 02 02 02 |

-13-

ELECTRICAL POWER ENGINEERING

15.	Training Modules (Contd.)

PHASE I – BASIC TRAINING

| MES | MU | ITEM NO. | PRACTICE | WKS | LP |
| --- | --- | --- | --- | --- | --- |
| EP 02 EP 02 | 01 | 01 02 03 04 | MACHINE SHOP PRACTICE Orientation to Machine Shop Identify administrative organization, physical layout stores facilities and procedures of the machine shop Identify types and functions of machine tools (e.g., lathes, shapes, milling machines, surface and cylindrical grinder, boring machines slotting, planning machines and drill presses etc.) Identify clean, maintain, lubricate as required, and be conversant with workshop facilities, tools and instruments and supplies Identify safety hazards, special safety precautions and first aid facilities and practices in the machine shop. | 12 | 03 03 02 02 |
| EP 02 | 02 | 01 02 03 04 05 06 07 08 | Set up lathe for operation Clean, Lubricate and service lathe Read and interpret workshop drawings and blue prints Check lathe centres for parallelism Hold and centre works piece with 3 Jaw chuck; face plates and dogs and / or centres Select, install correct type and size of lathe tool holder Select, grind, install and adjust correct size and type of lathe tool Select and adjust direction and speed of feed and rotation Operate lathe controls and adjust coolant flow |  | 02 03 03 03 03 03 03 03 |

-14-

ELECTRICAL POWER ENGINEERING

15.       	Training Modules (Contd.)

PHASE I – BASIC TRAINING

| MES | MU | ITEM NO. | PRACTICE | WKS | LP |
| --- | --- | --- | --- | --- | --- |
| EP 02 | 03 | 01 02 03 04 05 06 07 08 09 10 11 | Turn work piece on lathe Check parallelism of shaft Straight turn and step turn work pieces held in chucks and between centres. Face work piece by straight, stepped and profile facing Cut off work piece with parting tools Turn taper by taper turning tools and attached by weivelling compound rest and by off-setting tail stock Knurl plain and cross patterns Turn Straight, stepped and profile internal surface using drills and boring bars Turn eccentric by off-setting work pieces Cut external and internal “V” square and some single and multi start – threads using lathe tools Cut external and internal “V” threads using taps and dies Cut external and internal oil grooves |  | 03 03 03 03 02 02 02 02 02 02 02 |
| EP 02 | 04 | 01 02 03 04 05 06 07 08 | Operate Drilling Machines Acquaning with marking off for drilling. Acquaint with different methods of positioning the work piece prior to drilling Familiarize with the different types of drills and appropriate selection for the particular job Acquire knowledge of using drilling machine for internal boring Acquire skills in the using of portable electric drills, hand drills and ratchet drills etc. Acquire skills in drilling out broken studs and taking out broken drills bits etc. Acquire skills in identifying and selecting correct size and type of reamers and using them in appropriately drilled holes Familiarize with the construction of drilling machines and routine maintenance servicing Familiarize with tapping by special attachment on the drilling machine |  | 03 02 02 03 03 03 02 02 |

-15-

ELECTRICAL POWER ENGINEERING

15.       	Training Modules (Contd.)

PHASE I – BASIC TRAINING

| MES | MU | ITEM NO. | PRACTICE | WKS | LP |
| --- | --- | --- | --- | --- | --- |
| EP 03 | 02 | 01 02 03 04 05 | WELDING Orientation to the Welding shop Identify workshop organization, arrangement of tools and equipment, storage facilities and procedures Identify workshop and welding hazards special safety precautions and first aid facilities Identify common metals (eg. Mild steel, steel iron, cast steel, copper, brass, aluminum inspection Read and interpret workshop drawings Layout, mark and prepare metals for weldings | 04 | 03 03 03 03 02 |

-16-

ELECTRICAL POWER ENGINEERING

15.       	Training Modules (Contd.)

PHASE I – BASIC TRAINING

| MES | MU | ITEM NO. | PRACTICE | WKS | LP |
| --- | --- | --- | --- | --- | --- |
| EP 03 | 02 | 01 02 03 04 05 06 07 08 | Set up and use gas welding equipment Assemble oxy-acetylene welding equipment and test for leaks Select and install blow pipes, set gas pressures and light flame Make fusion welds on 1/16” or heavier metal in flat position with and without filler rod Make corner, flanged, butt square, edge butt, lap and fillet welds on 1/16” or heaver metal Flame braze small steel assemblies Braze weld butt, lap and tee fillet joints Assemble oxy-acetylene and LPG Flame cutting equipment and test for leaks. Perform liner and circular flame cutting by hand |  | 02 02 02 02 02 02 02 02 |
| EP 03 | 03 | 01 02 03 04 05 | Set up and operate electric are welding Welding equipment Set up arc welding equipment Select and install electrodes, adjust current and strike and maintain arc Make straight runs, including crater filling, with and without weaving Make a single layer pad on 3/8” or heavier steel plate Make fillet, lap open corner, and square edge and single vee butt welds on ¼” heavier steel plate |  | 02 02 02 02 02 |
| EP 04 |  | 01 | SMITHY AND FOUNDRY WORK Orientation to blacksmith workshop Identify blacksmith’s workshop organization arrangement, tools and equipments, storage facilities and procedures Forge and repair iron and steel items Orientation to foundry shop | 04 | 03 03 |

-17-

ELECTRICAL POWER ENGINEERING

15.       	Training Modules (Contd.)

PHASE I – BASIC TRAINING

| MES | MU | ITEM NO. | PRACTICE | WKS | LP |
| --- | --- | --- | --- | --- | --- |
| EP 04 | 01 | 02 | Identify workshop hazards (eg. At forge ad anvil and from lifting, failing objects, fire, toxicants etc) special safety precaution and devices, and first aid facilities |  | 03 |
| EP 04 | 02 | 01 02 03 04 05 06 | Forge and repair iron and steel items Read and interpret workshop drawings Select metals and heat in furnace Place metal on anvil and shape by hammering, cutting and punching Repair or make edged and pointed tools and parts such as chisels, punches, screwdrivers, wedges etc. Harden and temper tools and metal parts Repair metal articles by forging |  | 03 02 02 02 02 02 |
| EP 04 | 03 | 01 02 03 04 05 | Orientation to foundry shop Identify section administrative organization physical layout stores facilities and procedures Identify workshop hazards (eg. At furnace, in using tools and equipment, and from lifting, falling objects, fire corrosives toxicants, hot metal, metal and dirt particles etc.) Safety devices and first aid facilities and practices Familiarize with tools, equipment and materials used in Foundry Prepare sand mouldings of solid and hollow parts and cast in aluminum, cast iron or other material |  | 03 03 02 02 02 |

-18-

ELECTRICAL POWER ENGINEERING

15.       	Training Modules (Contd.)

PHASE I – BASIC TRAINING

| MES | MU | ITEM NO. | PRACTICE | WKS | LP |
| --- | --- | --- | --- | --- | --- |
| EP 05 | 01 | 01 02 03 04 | BENCH CARPENTRY Orientation to carpentry shop Identify workshop administrative organization physical layout, stores facilities and procedures Identify workshop hazards (at work benches, using power tools and equipment and wood working hand tools and from lifting, falling objects, fire explosion, etc) safety devices and first aid facilities and practices Identify clean maintain, lubricate as required and be conversant with workshop facilities, tools equipment and supplies Read and interpret construction and material specifications in blue prints, sketches and building plans | 04 | 03 03 02 02 |
| EP 05 | 02 | 01 02 03 04 05 06 07 08 | Bench Carpentry Collect specified sizes, types and quantities of timber or other building materials such as plywood fiberboard chipboard etc. Layout work in accordance with specifications using rulers, framing square, try square, calipers etc. Mark reference and cutting and assembly lines on materials using pencils, chalk, marking knives, marking gauges, mortising gauges etc. Saw, chisel, rasp, drill, plane and sand materials to prescribed shapes, dimensions and finish Cut, dovetail, mortise and tennon, bridle, half lap, housing and wedge and scarfed joints. Assemble cut and shape materials and join them with nails dowels, woodscrews, glue etc. Sharpen saw blade teeth, plane irons, chisels, screwdrivers etc. Maintain and repair wood working hand tools |  | 02 02 02 02 02 02 02 02 |

-19-

ELECTRICAL POWER ENGINEERING

15.       	Training Modules (Contd.)

PHASE I – BASIC TRAINING

| MES | MU | ITEM NO. | PRACTICE | WKS | LP |
| --- | --- | --- | --- | --- | --- |
| EP 06 EP 06 | 01 | 01 02 03 | FACTORY (ELECTRICAL) INSTALLATION Orientation Familiarize with types and sizes of cables, connectors and conduits Familiarize with electrical installation, electrical equipment and layout Familiarize with types and cases of electrical testing and measuring instruments | 16 | 01 02 02 |
| EP 06 | 02 | 01 02 03 04 05 06 | Electrical installation & wiring Familiarize with the interpretation of layout plans, circuit and schematic diagrams Familiarize with dutting, bending, ferming and threading of rigid and flexible conduits Study the operation of electrical equipment such as switchgear, earth leakage circuit breakers, meters Identify and study service wiring for lighting and ventilation Study testing procedures for electrical installations, rules IEE regulations and code or practice Check the installation for conformity with the regulations |  | 01 02 01 01 01 01 |

-20-

ELECTRICAL POWER ENGINEERING

PHASE II AND III – GENERAL AND SPECIALIZED TRAINING

16.	Training Modules

| MES | MU | ITEM NO. | PRACTICE | WKS | LP |
| --- | --- | --- | --- | --- | --- |
| EP 07 | 01 | 01 02 03 04 05 06 07 08 09 10 11 12 | POWER GENERATION DISTRIBUTION AND SUBSTATION PRACTICE Generation of Electric Power (Diesel Plants) Familiarize with storage, pumping and filtering arrangement of fuel oil Familiarize with injection pumps, injectors and cylinder arrangements Study system of air intake Inspect exhaust arrangements and supercharging Familiarize with supply, storage, cooling and treatment of cooling and treatment of cooing water Study bearing arrangements and their lubricants Study cooling and purification of lubrication oil Familiarize with generator arrangement (physical and electrical) excitation and control, cooing and protection of generator Perform starting up an control of power, voltage and frequency Familiarize with normal and emergency operations Perform routine maintenance of electrical and non electrical items of the plant Perform breakdown maintenance of the relevant items of the pant | 24 | 02 02 02 02 02 02 02 02 03 03 02 02 |

-21-

ELECTRICAL POWER ENGINEERING

PHASE II AND III – GENERAL AND SPECIALIZED TRAINING

16.	Training Modules

| MES | MU | ITEM NO. | PRACTICE | WKS | LP |
| --- | --- | --- | --- | --- | --- |
| EP 07 | 01 | 01 02 03 04 05 06 07 | Power Distribution (Overhead and Underground) Familiarize with spans, clearances, line supports, strength of supports, conductors, and insulators framed under the Electricity Act. Familiarize with different types of materials, accessories, tools and equipment used in erection of lines Familiarize with quantitative estimation of materials used for lines at different distribution voltages, using different types of line supports and conductors Study methods and techniques used in erection or poles and struts, binding, burying fixing of stays, fixing of cross arms and insulators and earthling Perform drawing of conductors, tensioning and fixing and other aspects of line construction. Study and perform testing and commissioning of lines and equipment. Study and perform testing and commissioning of lines and equipment Study methods of underground distribution, choice of voltage, choice of cables, type and sizes, choice of terminal equipment such as transformers, switchgear, feeder pillars, bus bars, protection |  | 02 02 03 02 02 03 02 |

-22-

ELECTRICAL POWER ENGINEERING

PHASE II AND III – GENERAL AND SPECIALIZED TRAINING

16.	Training Modules

| MES | MU | ITEM NO. | PRACTICE | WKS | LP |
| --- | --- | --- | --- | --- | --- |
| EP 07 |  | 08 09 10 11 12 | Study choice of cable routes, distribution, points, substation sites Study methods of obtaining way leave, acquisition etc. and regulations of local authorities of matters such as clearances from gas and water mains, opening up of roads etc. Study methods and techniques adopted and equipment used in trenching, cable laying, cable jointing and closing Perform different aspects of work connected with underground distribution Perform commissioning and testing of underground cables including fault location |  | 02 02 02 02 03 |
| EP 07 | 03 | 01 02 03 04 05 06 | Distribution substation practice Study layout and design of different types of substation at different voltages and capacity Familiarize with accessories, tools and equipment used in construction Study and perform wherever possible installation of different types of circuit breakers, switches, lighting arresters, transformers, bus bars, feeder cables, O/H lines, meters and metering equipment Study earthling methods and installation of earthling electrodes Study quantitative estimation of equipment used in different types of substation Study and perform testing and commissioning tests |  | 02 02 02 02 03 03 |

-23-

ELECTRICAL POWER ENGINEERING

PHASE II AND III – GENERAL AND SPECIALIZED TRAINING

16.	Training Modules

| MES | MU | ITEM NO. | PRACTICE | WKS | LP |
| --- | --- | --- | --- | --- | --- |
| EP 07 | 03 | 07 | Study and perform protective routine maintenance and breakdown maintenance including record keeping adherence to safety rules and regulations stipulated. |  | 02 |
| EP 08 EP 08 | 01 | 01 02 03 | Installation Maintenance and repair or electrical equipment /systems Orientation Identify types, sizes and ratings of wires, cables, connectors and conduits Identify types and uses of electrical measuring and testing instruments Identify various types and purposes of industrial and domestic electrical equipment and systems and the physical layout for electrical installations for factories, building locomotives motor vehicles, boats etc. | 24 | 02 03 03 |
| EP 08 | 02 | 01 02 03 04 05 | Install electrical equipment and systems Read and interpret blue prints, layout plans, circuit diagrams and schematics Select appropriate type and size of electrical wiring or cables, connectors and conduits Cut, bend, form and thread conduit Saw, drill or cut required openings and recesses in floors, walls or ceilings Install, join and secure rigid and flexible conduit according to layout plans |  | 03 03 02 02 02 |

-24-

ELECTRICAL POWER ENGINEERING

PHASE II AND III – GENERAL AND SPECIALIZED TRAINING

16.	Training Modules

| MES | MU | ITEM NO. | PRACTICE | WKS | LP |
| --- | --- | --- | --- | --- | --- |
| EP 08 | 02 | 06 07 08 09 10 11 12 13 14 | Pull in wire and cables Install, open wiring and cables according to layout plan and secure in position Join or connect conductors by splices, terminals, connectors etc. and solder as required Apply insulating tapes, liquids, paints, varnishes etc. Check electrical equipment foundations for levelness with hydrostatic or spirit level and level as required Install and connect motors, generators welding machines etc. Fit and align pulleys belts, gears, splines, shafts, half coupling etc. Install and connect switches, push buttons, transformers, switchgears, switchboard meters, fuses, circuit breakers, and magnetic controls, overload devices etc. Install and connect incandescent, fluorescent and vapour lamps, ceiling fans, exhaust fans, air-conditioning units etc. |  | 02 02 02 02 03 03 03 03 03 |
| EP 08 | 03 | 01 02 | Inspect and test electrical equipment and systems Test electrical systems and equipment for continuity, open & short circuits, ground faults, and insulation break down using test lights, voltmeters, ammeters & megger Inspect installations and connections of electrical wiring and cables, conduits, protection and control devices and equipment for conformity with the IEE and Sri Lanka Electrical Act. Regulations and Code of Practice |  | 03 03 |

-25-

ELECTRICAL POWER ENGINEERING

PHASE II AND III – GENERAL AND SPECIALIZED TRAINING

16.	Training Modules

| MES | MU | ITEM NO. | PRACTICE | WKS | LP |
| --- | --- | --- | --- | --- | --- |
| EP 08 | 03 | 03 04 | Operate electrical systems and equipment and perform operational checks and services Measure and calculate resistance, current, voltage power frequency, phase and speed. |  | 03 03 |
| EP 08 | 04 | 01 02 03 04 05 06 07 | Maintain and repair electrical systems and equipment Locate and correct faults in electrical systems and equipment Maintain and repair, push buttons and switches, switch gear, switch board meters, fuses, circuit breakers and overload switches Connect, service and maintain dry cells and batteries and storage cells and batteries (Lead acid, alkaline etc..) Clean, inspect, service and repair domestic appliances, eg. Electric irons, kettles, cookers, heaters, polishers, washing machines, refrigerators etc. Inspect service and repair charging systems Clean, inspect, service repair and test relays ad protection devices Clean, inspect, service repair and calibrate electrical measuring and test instruments |  | 03 02 03 03 03 03 03 |
| EP 09 | 01 | 01 | Maintenance / Repair of Electrical Machines Orientation to electric motor and generator repair section Identify section organization, arrangement, storage facilities and procedures. | 08 | 03 |

-26-

ELECTRICAL POWER ENGINEERING

PHASE II AND III – GENERAL AND SPECIALIZED TRAINING

16.	Training Modules

| MES | MU | ITEM NO. | PRACTICE | WKS | LP |
| --- | --- | --- | --- | --- | --- |
| EP 09 | 01 | 02 03 | Identify section hazards (eg. at work benches, in using tools and equipment, and from falling objects, lifting electrical insulations, fire explosion, toxicants, corrosives etc..) safety devices and first aid facilities and practices Read and interpret electrical system component and equipment manufacturer’s service manuals, part catalogues and specifications tables, charts, diagrams etc. |  | 03 03 |
| EP 09 | 02 | 01 02 03 | Maintenance of tools, equipment and supplies Identify types, uses and locations of tools, equipment and supplies Clean, repair and maintain section tools and equipment Maintain section records |  | 03 03 03 |
| EP 09 | 03 | 01 02 03 04 05 | Service and maintain motors and generators Clean motor or generator housings Check bearings and bushings for wear and lubricate as required Use electrical measuring instruments to check insulation, supply voltage current and power and power factor of motors and identify defects Run motors and generators, check for speed, noise heat and any other defects Check, adjust, repair or replace drive belts, flexible couplings, chains and sprockets and lubricate as required. |  | 03 03 03 03 03 |

-27-

ELECTRICAL POWER ENGINEERING

PHASE II AND III – GENERAL AND SPECIALIZED TRAINING

16.	Training Modules

| MES | MU | ITEM NO. | PRACTICE | WKS | LP |
| --- | --- | --- | --- | --- | --- |
| EP 09 | 03 | 06 07 | Check commutators and brushes for excessive arcing and wear Check brush pressure |  | 03 03 |
| EP 09 | 04 | 01 02 03 04 05 06 07 08 09 10 | Inspect, service and repair electric motor and generator Identify types and specific purposes of electric motors and generators Check name plate and identify types, sizes, speeds and current ratings of motors and generators Dismantle, clean, and inspect motors and generators and service, repair or replace faulty components Check bearings and bushings for play and wear and repair or replace as necessary Test field windings, armatures and stator windings for short circuits, open circuits and ground faults Rewind DC armatures in lap and wave windings using correct gauge and length (No. of turns of wire) Rewind DC motor field coils, rotors and stators of AC single/poly phase motors and generators Skim and undercut, commutators, skim slip rings, seat brushes and adjust brush position of DC machines Insulate, bake and varnish armatures, stators, rotors and field coils etc.. Use electrical measuring instruments to measure armature, and field-winding, insulation resistance and dielectric strength |  | 03 03 03 03 03 03 03 33 03 03 |

-28-

ELECTRICAL POWER ENGINEERING

PHASE II AND III – GENERAL AND SPECIALIZED TRAINING

16.	Training Modules

| MES | MU | ITEM NO. | PRACTICE | WKS | LP |
| --- | --- | --- | --- | --- | --- |
| EP 10 | 01 | 01 02 03 04 05 | Electronic Practice Orientation to electronic service shop Identify workshop administrative organization, physical layout, rules and regulations, tools and equipment stores facilities and procedures Identify workshop hazards (eg. At work benches in using tools and equipment and from lifting and folling objects, fire toxics, explosives, corrosive, metal and dirt particles) Clean, maintain and lubricate tools and equipment as required and be conversant with workshop facilities and supplies Identify use of commonly used tools in electronics (eg. Soldering iron, pliers nippers screw drivers) Read and interpret workshop drawings | 06 | 03 03 03 03 03 |
| EP 10 | 02 | 01 02 03 04 05 06 07 08 | Practice soldering Clean and prepare surfaces for soldering Study correct selection and handling of soldering iron for different work Select correct solder for soldering Solder components using irons Solder components to printed circuit board Desolder components using desoldering gun and/or soldering iron Solder maintenance components using low wattage/voltage soldering irons Solder and desolder ICs |  | 02 02 02 02 02 02 02 02 |

-29-

ELECTRICAL POWER ENGINEERING

PHASE II AND III – GENERAL AND SPECIALIZED TRAINING

16.	Training Modules

| MES | MU | ITEM NO. | PRACTICE | WKS | LP |
| --- | --- | --- | --- | --- | --- |
| EP 10 | 03 | 01 02 03 04 05 06 07 08 09 | Identify resistors, capacitors, inductors and their behaviour when combined Identify types of resistors, their values, colour code and understand power ratings Measure voltage across resistors Measure current through resistors Measure resistance using and Ohm meter Identify various types of capacitors with respect to their values and working voltage Test capacitors for leakage Test capacitors for charging and discharging using a multimeter Identify various types of inductors and test continuity of windings using Ohm meter Measure input and output voltages and currents in simple transformers |  | 02 02 02 02 02 02 02 02 02 |
| EP 10 | 04 | 01 02 03 | Identify, and test basic semiconductors Identify and test the basic semiconductors diodes (eg. Detector diodes, power rectifier diodes and zener diodes) Identify and test PNP and NPN transistors with Ohm meter Test transistor using transistor checker |  | 02 02 02 |
| EP 10 | 05 | 01 02 03 | Examine the operation of basic power supplies and amplifiers Identify various types of batteries used in electronic equipment Assemble a half wave rectifier and test the circuit using a multimeter Identify choke input filter and capacitor input filter |  | 02 02 02 |

-30-

ELECTRICAL POWER ENGINEERING

16.       	Training Modules (Contd.)

PHASE I – BASIC TRAINING

| MES | MU | ITEM NO. | PRACTICE | WKS | LP |
| --- | --- | --- | --- | --- | --- |
| EP 10 | 05 | 04 05 06 07 08 09 10 11 12 | Examine the operation of basic power supplies and amplifiers Construct a full wave rectifier and test the circuit using a multimeter Construct a bridge rectifier circuit and determine the methods to test the circuit with an Ohm meter Construct a voltage doublers circuit and test voltage across capacitors Understand and assemble common emitter amplifier circuit Test common emitter amplifier collector voltage, emitter base voltage and voltage across emitter resistor Test common emitter amplifier collector current, emitter current and effect to temperature on collect or current Understand and assemble a two transistor common emitter amplifier Identify and understand common base amplifier Identify and understand common collector amplifier |  | 02 02 02 02 02 02 02 02 02 |
| EP 10 | 06 | 01 | Observe the effects of loop gain Learn to identify control system components such as transducers, forward path gain, feedback gain, closed loop gain |  | 02 |
| EP 10 | 07 | 01 02 | Recognize the principles of common transducers Understand the construction of electrical transducers for the measurement of pressure temperature, displacement, velocity and acceleration etc. Familiarize with statistic calibration techniques for transducers |  | 02 02 |
| EP 10 | 08 | 01 | Observe fault location and correction techniques of transducers and other components of control systems Learn identify and describe types of faults and fault |  | 02 |

-31-

ELECTRONIC ENGINEERING

16.       	Training Modules (Contd.)

PHASE I – BASIC TRAINING

| MES | MU | ITEM NO. | PRACTICE | WKS | LP |
| --- | --- | --- | --- | --- | --- |
| EP 11 | 01 | 01 02 03 04 05 06 07 | Service and Repair Automotive Electrical Systems Service and repair starting systems for internal combustion engines Remove and install starting motors Diagnose starting system faults Overhaul and bench test starting motors Turn starting motors commutators and seat brushes Test and recondition, or replace starting motor solenoids, switches and safety switches Test, remove, clean, inspect, charge and install batteries Inspect and recondition or replace battery cables and clean terminals | 06 | 03 03 03 03 03 03 03 |
| EP 11 | 02 | 01 02 03 04 05 06 07 08 09 10 | Service and repair spark ignition systems Diagnose ignition system faults Inspect primary and secondary ignition wiring and recondition or replace as required. Remove and install spark plugs Clean, inspect gap and test spark plugs Test coil and replace as required Remove, overhaul, bench test and install distributors Test condensers and renew or recondition breaker points and condensers as required Check pneumatic and mechanical advance mechanism and set ignition timing Clean, inspect and recondition or replace distributor caps and rotors as required Check and recondition or replace ignition switches and ballast resistors |  | 03 03 03 03 03 03 03 03 03 03 |

-32-

ELECTRICAL POWER ENGINEERING

PHASE II AND III – GENERAL AND SPECIALIZED TRAINING

16.	Training Modules

| MES | MU | ITEM NO. | PRACTICE | WKS | LP |
| --- | --- | --- | --- | --- | --- |
| EP 11 | 03 | 01 02 03 04 05 06 07 08 09 10 | Service and repair charging systems in automotive Diagnose charging system faults Test charging system voltage, current and resistance Remove and install generators and alternators Check armatures for short circuits, open and grounds and rewind as required Test, renew or reinsulated field coils as required Overhaul and bench test generators and alternators Turn commutators and seat brushes Recondition or replace circuit breakers and voltage and current regulators Test and adjust circuit breakers and voltage and current regulators Check charge indicators and circuits and recondition or replace as required |  | 03 03 03 03 03 03 03 03 03 03 |
| EP 11 | 04 | 01 02 03 04 05 06 07 | Service and repair lighting systems in automotives Diagnose lighting system faults Check lighting system wiring and connectors and recondition or replace as required Check bulbs, fuses and relays and replace as required Check and recondition or replace light switches and dimmer switches Check and recondition or replace, directional signal switches and flasher units Remove and replace lamp receptacles and lenses Focus and replace lamp receptacles and lenses |  | 03 03 03 03 03 03 03 |
| EP 11 | 05 | 01 02 03 04 05 06 | Service and repair electrical accessories and gauges Diagnose faults Remove, overhaul, install and adjust electric wind shield wipers, power window lift motors and other electric motors Check and recondition or replace electric horns gauges and instruments Check repair and adjust electric horns Check and recondition or replace horn switches and relays Remove, overhaul, check and install electrical fuel pump. |  | 03 03 03 03 03 03 |

-33-

ELECTRICAL POWER ENGINEERING

PHASE II AND III – GENERAL AND SPECIALIZED TRAINING

16.	Training Modules

| MES | MU | ITEM NO. | PRACTICE | WKS | LP |
| --- | --- | --- | --- | --- | --- |
| EP 12 | 01 | 01 02 03 04 05 06 07 08 09 10 | Technical Office Personnel Management Consult superior officer and obtain directives and indications of policy to be followed Organize and co-ordinate work with the other work shops Maintain attendance and leave particulars, time card etc. of workers Make decisions on routine technical matters Interpret policies to workers and enforce safety regulations Recommend or initiate personnel action such as promotions, transfers, discharges and disciplinary measures Study production programme and estimate manpower requirements Estimate supplies and materials needed and make requisitions Establish or adjust work procedures to meet production schedules Analyze and resolve labour problems | 04 | 03 03 03 03 03 03 03 03 03 03 |
| EP 12 | 02 | 01 02 03 04 05 06 | Technical Procedure and Practices Read and interpret workshop drawings, parts catalogues, instruction sheets, technical literature etc. Prepare detailed estimates of quantities and lists of materials and labour Write job orders and order space and materials Maintain stores and control inventories Prepare working plans and detail drawings Prepare charts and working drawings |  | 03 03 03 03 03 03 |
| EP 12 | 03 | 01 02 03 04 05 06 | Supervision of workers Exercise technical supervision and control Provide technical guidance to workers Analyse and resolve workers problems Assign duties to workers Inspect and test completed work to ensure compliance with specifications and safety standards Supervise execution of management policies, maintenance of tools equipment and facilities and conservation of materials |  | 03 03 03 03 03 03 |

-34-